## Aspect # 1
MISSION MEDIUM INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 1: Fire alarm system/devices
Device | main alarm panel | annunciator panels | manual pull station | manual pull station-2stage | smoke detector | smoke detector | heat detector RHT | pressure switch | pressure switch | flow switch | tamper switch | strobe | horn with strobe | bell | ancillary devices | fan/damper shut down relay | end of line resistor
Type |  |  |  |  | duct | photo or ion | rate of rise | low water | excess
BUILDING | Make/Stage | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty
A | 1- Edwards EST 3 - 2 stage | 1 | 9 | 10 | 7 | 11 | 1 |  |  | 7 | 12 | 1 | 21 |  |  | 5
LU1 | 1- Edwards EST 3 - 2 stage | 1 | 0 | 2 | 1 | 75 |  | 1 |  | 1 | 3 |  | 4 |  |  | 1 | 2
LU2 | 1- Edwards EST 3 - 2 stage | 1 |  | 2 | 1 | 73 |  | 1 |  | 1 | 3 | 3 | 4 |  |  | 1 | 2
LU3 | 1- Edwards EST 3 - 2 stage | 1 |  | 2 | 1 | 75 |  | 1 |  | 1 | 3 |  | 4 |  |  | 1 | 2
LU4 | 1- Edwards EST 3 - 2 stage | 1 |  | 1 | 1 | 75 |  | 1 |  | 1 | 3 |  | 4 |  |  | 1 | 2
LU5 | 1- Edwards EST 3 - 2 stage | 1 |  | 2 | 1 | 75 |  | 1 |  | 1 | 3 |  | 4 |  |  | 1 | 2
LU6 | 1- Edwards EST 3 - 2 stage | 1 |  | 6 | 2 | 141 |  |  |  | 12 | 16 |  | 28
S | 1- Edwards EST 3 - 2 stage | 1 |  | 2 |  | 18 |  | 1 |  | 1 | 5 | 2 | 3 |  |  | 1 | 2
I | 1- Edwards EST 3 - 2 stage |  |  | 3 |  |  | 1 | 1 |  | 1 | 3 |  | 6 |  |  | 1
M | 1- Edwards EST 3 - 2 stage |  |  | 6 |  |  | 2 | 1 |  | 1 | 2 |  | 6 |  |  |  | 2
R | 1- Edwards EST 3 - 2 stage |  |  | 4 |  | 10 | 2 |  |  |  | 1 |  | 1
PFV 1-2 | [5 empty] | 7
PFV 3 | [5 empty] | 1
GEN | 1- Edwards EST 3 - 2 stage |  |  | 2 |  |  | 4 |  |  |  |  | 2 |  | 2
COMP | [6 empty] | 1
E-S |  |  | 1 |  |  |  | 2 | [5 empty] | 1 |  | 1
H | 1- Edwards EST 3 - 2 stage |  | 5 | 0 | 2 | 1 |  | 2 | 1 | 3 | 2 |  | 2 |  |  |  | 2
W | [5 empty] | 1 | 1
W1 | [5 empty] | 2 | 1
G | [9 empty] | 2
CR | [6 empty] | 1
MC | [6 empty] | 1
K | 1- Edwards EST 3 - 1 stage | 1 | 10 |  | 1 | 7 | 1 |  |  | 2 | 4 |  | 11
Minimum aborig change bldg - 38 | [6 empty] | 1
Minimum composter bldg - 39 |  |  | 2 | 0 |  |  | 2
P | 1- Edwards EST 3 - 2 stage | 1 |  | 6 | 1 | 7 | 1 |  |  | 2 | 4 |  | 8
TOTAL | 15 | 10 | 27 | 48 | 18 | 579 | 21 | 10 | 1 | 36 | 64 | 8 | 107 | 2 | 1 | 12 | 16

## Aspect # 2
MISSION MEDIUM INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 2: Sprinkler systems/trees
Component | Dry sprinkler system | Wet sprinkler system | check valve | Excess pressure pump | Fire hose valve | compressor for dry system if applicable | flow valve | shut off valve | Fire dept connections
BUILDING | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty
A | 1 | 4 | 1 | 1 | 0 | 1 | 4 | 7 | 1
LU1 |  | 1 | 1 | 1 | 2 |  | 1 | 1 | 1
LU2 |  | 1 | 1 | 1 | 2 |  | 1 | 1 | 1
LU3 |  | 1 | 1 | 1 | 2 |  | 1 | 1 | 1
LU4 |  | 1 | 1 | 1 | 2 |  | 1 | 1 | 1
LU5 |  | 1 | 1 | 1 | 2 |  | 1 | 1 | 1
LU6 |  | 8 | 1 | [5 empty] | 1-outside of fence near LU6
S |  | 1 | 1 | [5 empty] | 1
I |  | 1 | [6 empty] | 1
M |  | 1 | [6 empty] | 1
H |  | 2
G |  | 2
P | [8 empty] | 1
K |  | 2 | [6 empty] | 1
TOTALS | 1 | 26 | 8 | 6 | 10 | 1 | 9 | 12 | 12
Total # of gauges on site for each type of sprinkler system | 2 | 38

## Aspect # 3
MISSION MEDIUM INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 3: Emergency Lighting
BUILDING | Location | Make | Watts | # of remote heads
LU1 | L33 Corridor | Ready-lite | 44 | 2
LU1 | L47 Elec rm | Ready-lite | 44 | 2
LU1 | L57 Corridor | Ready-lite | 75 | 2
LU2 | L33 Corridor | Lumacell | 36 | 2
LU2 | L47 Elec rm | Beghelli | 36 | 2
LU2 | L57 Corridor | Beghelli | 36 | 2
LU3 | L28 S lobby | Ready-lite | 75 | 2
LU3 | L47 elec rm | Lumacell | 36 | 2
LU3 | L57 Corridor | Lumacell | 36 | 2
LU4 | L28 S lobby | Beghelli | 36 | 2
LU4 | L47 elec rm | Beghelli | 36 | 2
LU4 | L57 Corridor | Ready-lite | 36 | 2
LU5 | L28 S lobby | Ready-lite | 44 | 2
LU5 | L47 elec rm | Ready-lite | 36 | 2
LU5 | L51 N lobby | Ready-lite | 36 | 2
PFV 1-2 | PFV 1 Common rm | Ready-lite | 75 | 2
PFV 1-2 | PFV 2 Common rm | Ready-lite | 75 | 2
P | Rm 108 storage | Ready-lite | 144 | 8
P | Rm 111 mech rm | Ready-lite | 144 | 2
P | Rm 116 elec rm | Ready-lite | 144 | 4
P | Rm 118 program rm | Ready-lite | 144 | 6
P | ST 1 stairwell | Ready-lite | 144 | 6
P | ST 2 stairwell | Ready-lite | 144 | 4
P | ST 3 stairwell | Ready-lite | 144 | 4
P | Rm 206 mech rm | Ready-lite | 144 | 12
P | Rm 211 lunch rm | Ready-lite | 144 | 10
K | Rm 105 warehouse | Ready-lite | 144 | 10
K | ST 1 stairwell | Ready-lite | 144 | 8
K | Rm 107 elevator mech rm | Ready-lite | 144 | 4
K | St 2 stairwell | Ready-lite | 144 | 8
K | St 3 stairwell | Ready-lite | 144 | 6
K | Rm 205 Lan rm | Ready-lite | 144 | 8
K | Rm 206 mech rm | Ready-lite | 144 | 2
K | Rm 204 warehouse platform | Ready-lite | N/A | 0
H | Rm 003 lower mech rm | Ready-lite | 72 | 6
H | Rm 003 lower mech rm | Ready-lite | 144 | 12
A | AK rm 104 kitchen | Ready-lite | 144 | 6
A | AK rm 104 kitchen | Dual lite | 144 | 4
A | AK rm 115 dry storage | Ready-lite | 72 | 4
A | AR R12 mech rm | Ready-lite | 144 | 10
A | AM rm 253 network rm | Standpro | 550 | 28
A | AM rm 274 boardroom | lumacell | 36 | 2
A | AM rm 284 administration | lumacell | 72 | 10
S | D S24 psych corridor | Beghelli | 250 | 4
S | S 17 Corridor | Beghelli | 250 | 4
S | D3 control post | Ready-lite | 44 | 4
S | D24 corridor | lumacell | 36 | 2
R | 001 PE | Ready-lite | 44 | 2
Gen | Electrical rm | Ready-lite | 360 | 4
Gen | Generator rm | Beghelli | 360 | 8
Total | 50 |  |  | 246

## Aspect # 4
MISSION MEDIUM INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 4: Fire Extinguishers/Exit lights on battery
Type | ABC | CO2 | K-guard | H2O | All exit lights on battery
BUILDING | Qty | Qty | Qty | Qty | Qty
A | 36 | 1 | 3 | 2 | 64
LU1 | 3 |  |  |  | 6
LU2 | 3 |  |  |  | 6
LU3 | 3 |  |  |  | 6
LU4 | 3 |  |  |  | 6
LU5 | 3 |  |  |  | 6
LU6 | 9 |  |  |  | 0
S | 4 |  |  |  | 14
I | 15 |  |  |  | 0
M | 14 |  |  |  | 2
PFV 1-2 | 2 |  |  |  | 4
PFV 3 | 1 |  |  |  | 0
GEN | 3 |  |  |  | 12
E-S | 28 |  | 1 |  | 0
H | 4 |  |  |  | 18
Y | 1 |  |  |  | 0
W | 2 |  |  |  | 0
W1 | 1 |  |  |  | 2
G | 1 |  |  |  | 0
MC | 1 |  |  |  | 0
K | 9 |  |  |  | 46
P | 7 |  |  |  | 56
Mobiles | 2 |  |  |  | 0
TOTAL | 155 | 1 | 4 | 2 | 212

## Aspect # 5
MISSION MEDIUM INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 5: Fire Hydrants
Equipment | Hydrant only |  | All Hydrants require Dechlorination during flow testing and/or flushing
Location on site | Make | Type | High risk to environment -Dechlorinate
north end of bldg M | McAvity | M67 | dechlorinate
north end of bldg I | Mc Avity | M67 | dechlorinate
south end of main parking lot | Canada valve | Century | dechlorinate
south end of bldg K | Canada valve | Century | dechlorinate
south end of bldg I/front gate | Canada valve | Century | dechlorinate
at PFV's | Canada valve | Century | dechlorinate
between bldg A-k and bldg M | Mc Avity | M67 | dechlorinate
north end of bldg P | Mc Avity | M67 | dechlorinate
bldg S | Mc Avity | M67 | dechlorinate
north end of LU 5 | Mc Avity | M67 | dechlorinate
east side of LU 4 | Mc Avity | M67 | dechlorinate
east side of LU 3 | Mc Avity | M67 | dechlorinate
south east corner of LU 6 | Canada valve | Century | dechlorinate
south west of TO1 by road | Canada valve | Century | dechlorinate
LU 2 garden | Mc Avity | M67 | dechlorinate
TOTAL | 15 |  | 15

## Aspect # 6
MISSION MEDIUM INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 6: Back Flow Preventers
| Domestic water | Fire | Confined space
BUILDING | Qty | Qty | YES or NO
A | 1 | 1 | NO
LU1 | 1 |  | NO
LU2 | 1 |  | NO
LU3 | 1 |  | NO
LU4 | 1 |  | NO
LU5 | 1 |  | NO
LU6 | 1 | 1 | NO
M | 1 |  | NO
S |  | 1 | NO
K | 2 | 1 | NO
Pit next to SW tower | 1 | 1 | YES
Pit next to motorcycle parking | 1 | 1 | YES
P | 2 | 1 | NO
TOTAL | 14 | 7

## Aspect # 7
MISSION MEDIUM INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 7: Standpipe/Hose Cabinet systems. (occupant use hose)
Material,class, type and demand | Nylon | Class-qty of each class of system in each building | Type of standpipe and qty of each type per bldg | Standpipe system design demand | Length of standpipe HOSES
BUILDING | QTY | Class 1, 2 or 3 | eg.automatic/ dry/manual/wet/ semi-automatic dry | GPM - L/min | Length in feet
A | 9 | Class 2 | Wet | 480 GPM | 4 - 1 1/2"x100ft 5 - 1 1/2"x75ft
LU6 | 2 | 2-Class 3 | Wet | 480 GPM | 2 - 1 1/2 X100 ft
S | 1 | Class 2 | Wet | 480 GPM | 1 - 1 1/2"x100ft
TOTAL | 12

## Aspect # 8
MISSION MEDIUM INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 8: Kitchen Sprinkler Suppression systems
EQUIPMENT | AK-104 (main kitchen) | AK-102 (kitchen bakery)
Make | Kidde | Kidde
Model | Wet chem | Wet chem
Actuation type | Mechanical | Mechanical
Number of cylinders | 1 | 1
Number of nozzles | 11 | 6
Number of suppression system fusible links | 7 | 2
Size of cylinders | 6 gal | 2.5 gal
Fire damper assembly type | none | none
Fire damper assembly fusible links to replace | none | none