## Aspect # 1
KHV INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 1: Fire alarm system/devices
Device | main alarm panel | annunciator panels | manual pull station | smoke detector | smoke detector | heat detector | heat detector | flow switch | Supervisory device | strobe | bell | ancillary devices | magnetic door holder
Type |  |  |  | duct | photo or ion | fixed temp | rate of rise |  | other
BUILDING | Make/Stage | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty
A | 1 Edwards EST 3 - 2 stage | 1 | 7 |  | 1 |  |  | 2 | 4 | 2 | 5
B | 2 Edwards EST-3x - 2 stage | 1 | 8 | 4 | 13 |  |  | 2 | 5 |  | 11 | 4
C | 1 Edwards EST-3x - 2 stage |  | 2 |  |  |  | 4 |  |  | 2 | 2 | 1
D | 1 Edwards EST-3x - ? stage |  | 5 |  | 23 |  | 1 | 4 | 8 | 1 | 6 |  | 4
E | 1 Edwards EST-3x - 2 stage |  | 5 |  | 12 |  |  | 1 | 7 |  | 4 |  | 2
F | 1 Edwards EST- 3x |  | 3 |  | 13 |  | 2 | 2 | 5 |  | 5
G | 1 Edwards EST- 3x |  | 3 |  | 23 |  | 6 | 4 | 8 |  | 6 |  | 4
1 | 1 fireshield - 1 stage |  |  |  | 2 |  |  |  |  | 2 | 1 | 2
7 | 1 Edwards EST 3x - 2 stage |  | 2 |  |  |  | 7 |  |  |  | 1
13 | 1 Edwards EST 3 - 2 stage |  | 3 |  | 4 | 1 | 10 |  |  |  | 1 | 1
15 | 1 Edwards EST 3x - 2 stage |  | 3 |  |  |  | 19 |  |  |  | 1
18 | 1 Edwards EST 3 - 2 stage |  | 2 |  | 14 |  |  |  |  | 1
21 | 1 Edwards EST 3 - 2 stage |  | 4 |  |  |  | 7 |  |  |  | 3
33 | 1 Edwards EST 3x - 1 stage |  | 2 |  |  |  | 5 |  |  |  | 1 | 1
35 | none-covered by bldg 33 panel |  | 3 |  |  |  | 6 |  | 2 |  | 1
TOTAL | 14 | 2 | 55 | 4 | 105 | 1 | 83 | 15 | 39 | 8 | 50 | 11 | 20

## Aspect # 2
KHV INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 2: Sprinkler systems/trees
Component | Dry sprinkler system | Wet sprinkler system | check valve | compressor for dry system if applicable | flow valve | shut off valve | Fire dept connections
BUILDING | Qty | Qty | Qty | Qty | Qty | Qty | Qty
A |  | 1 | 1 |  |  | 4 | 1
B |  | 1 |  |  |  | 5 | 1
D | 1 partial |  |  | 1 |  | 5 | 1
E | 1 partial |  |  | 1 |  | 5 | 1
F | 1 partial |  |  | 1 |  | 4
G | 1 partial |  |  | 1 |  | 5
5 | [6 empty] | 1
35 | 1 |  | 1 | 1 | 1 | 1 | 1
TOTALS | 5 | 2 | 2 | 5 | 1 | 29 | 6
Total # of gauges on site for each type of sprinkler system | 13 | 11

## Aspect # 3
KHV INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 3: Emergency Lighting
BUILDING | Location | Make | Watts | # of remote heads
Bldg B | Mid level stairwell | Ready-lite | 250 | 2
Bldg B | Maintenance rm 108 | Ready-lite | 144 | 2
Bldg B | Hobby Shop | Ready-lite | 144 | 0
Bldg B | rm 2109 | Ready-lite | 200 | 12
Bldg B | rm 2101 | Ready-lite | 100 | 0
Bldg B | rm 1807 | Ready-lite | 200 | 16
Bldg B | rm 1206 | Ready-lite | 100 | 6
Bldg C | elec rm | Lumacell | 360 | 6
Bldg C | gen rm south | Lumacell | 200 | 4
Bldg C | gen rm north | Lumacell | 200 | 4
Bldg D | SALMON HOUSE | lumacell | 200 | 24
Bldg E | EAGLE HOUSE | lumacell | 200 | 18
Bldg 7 | rm 702 | Ready-lite | 150 | 0
Bldg 13 | main area | lumacell | 144 | 0
Bldg 13 | main area | lumacell | 144 | 0
Bldg 13 | hallway | lumacell | 144 | 0
Bldg 13 | rm 107 | Ready-lite | 150 | 0
Bldg 15 | front entrance | lumacell | 36 | 0
Bldg 21 | entrance rm 2101 | Ready-lite | 36 | 0
Bldg 21 | rm 2103 | Lithonia | 36 | 0
Bldg 33 | mech rm | stanpro | 250 | 20
Bldg 33 | community kitchen | Ready-lite | 36 | 0
Total | 25 |  |  | 114

## Aspect # 4
KHV INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 4: Fire Extinguishers/Exit lights on battery
Type | ABC | K-guard | All exit lights on battery
BUILDING | Qty | Qty | Qty
A | 8
B | 17
C | 2
D | 10
E | 6
F | 4
G | 10
1 | 1
7 | 3
13 | 3
15 | 2
18 | 2
21 | 3
33 | 2 | 1
35 | 3
39 | 1
40 | 1
43 | 1
44 | 1
47 | 1
47A | 1
52 | 1
TOTAL | 88 | 2 | none

## Aspect # 5
KHV INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 5: Fire Hydrants
Equipment | Hydrant complete with hose |  | All Hydrants require Dechlorination during flow testing and/or flushing
Location on site | Make | Type | High risk to environment -Dechlorinate
In front of bldg D | McAvity | M67 | dechlorinate
In front of bldg 15 | Terminal city | C71P | dechlorinate
In front of bldg F | Terminal city | C71P | dechlorinate
Next to bldg B | Century Mueller | 83w0 | dechlorinate
In front of bldg 33 | Century Mueller | 12KOOB | dechlorinate
Next to the "Sweat Grounds" | Century Mueller | 2103A | dechlorinate
Next to bldg A | Terminal city | C71P | dechlorinate
TOTAL | 7 |  | 7

## Aspect # 6
KHV INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 6: Back Flow Preventers
| Domestic water | Fire | Confined space
BUILDING | Qty | Qty | YES or NO
A | 1 | 1 | NO
B | 1 | 2 | NO
D | 1 | 2 | YES
E | 1 | 2 | YES
F | 1 | 2 | YES
G | 1 | 2 | YES
33 | 0 | 1 | YES
TOTAL | 6 | 12

## Aspect # 8
KHV INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 8: Kitchen Sprinkler Suppression systems
EQUIPMENT | bldg 33-com kitchen
Make | Kidde
Model | Wet chem WHDR260
Actuation type | mechanical
Number of cylinders | 1
Number of nozzles | 2
Number of suppression system fusible links | 3
Size of cylinders | 2.66 gal
Fire damper assembly type | none
Fire damper assembly fusible links to replace | none