## Aspect # 1
MOUNTAIN INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 1: Fire alarm system/devices
Device | main alarm panel | anunciator panel | manual pull station | manual pull station-2stage | smoke detector | smoke detector | heat detector | heat detector | heat detector | excess pressure | flow switch | tamper switch | CO2 | horn | horn with strobe | strobe only | fan/damper shut down relay | magnetic door holder
Type |  |  |  |  | duct | photo or ion | fixed temp | rate of rise | freezer | pump run
BUILDING | Make/Stage | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty | Qty
A1 & 2 | edwards EST-3/ 1 stage |  | 11 |  |  | 6 | 1 | 44 | [5 empty] | 7
A3 & 4 | edwards EST-3/ 1 stage | computer | 8 |  |  | 1 | 8 | 23 | [5 empty] | 6
A17 | edwards EST-3/ 1 stage |  |  | 2 | 2 | 3 |  |  |  |  | 3 | 6 |  | 2 |  |  | 1
A19 | edwards EST-3/ 1 stage |  | 3 |  |  | 1 | 1 | 12 | [5 empty] | 1
A20 | edwards EST-3/ 1 stage |  | 5 |  |  | 5 |  | 2 | [5 empty] | 2
A21 | edwards EST-3/ 1 stage |  | 6 |  |  | 2 | [5 empty] | 2 |  | 2
D | edwards EST-3/ 1 stage | 1 |  | 4 |  | 3 |  |  |  | 1 |  | 1 |  | 8
E /F | edwards EST-3/ 1 stage | computer & 1 |  | 4 | 2 | 14 |  | 21 | [5 empty] | 6
E1 | edwards EST-3/ 1 stage |  | 3 |  |  |  | 2 | 10 | [5 empty] | 3
E2 | edwards EST-3/ 1 stage |  | 3 |  |  |  | 2 | 10 | [5 empty] | 2
E3 | edwards EST-3/ 1 stage |  | 4 |  |  |  | 1 | 9 | [5 empty] | 4
E5 | edwards EST-3/ 1 stage |  | 2 |  |  |  | 1 | 16 | [5 empty] | 3
G | edwards EST-3/ 1 stage | 1 |  | 4 | 3 | 32 | [5 empty] | 3 |  | 3 | 4
H | edwards EST-3/ 1 stage | 1 |  | 4 | 2 | 2 | [5 empty] | 3 |  | 3
J | edwards EST-3/ 1 stage |  |  | 2 | 2 | 2 | [5 empty] | 3 |  | 2
K | edwards EST-3/ 1 stage | 1 |  | 3 |  | 2 |  |  | 11 |  |  | 1 | 2 | 11 |  |  | 2 | 1
LU1 | edwards EST-3/ 1 stage | 1 |  | 3 | 2 | 95 | [5 empty] | 2 |  | 5 |  |  | 1
LU2 | edwards EST-3/ 1 stage | 1 |  | 4 | 4 | 86 | [5 empty] | 5 |  | 6 | 6 | 1 | 1 | 1
LU3 | edwards EST-3/ 1 stage | 1 |  | 4 | 4 | 86 | [5 empty] | 5 |  | 6 | 6 | 1 | 1 | 1
LU4 | edwards EST-3/ 1 stage | 1 |  | 4 | 4 | 86 | [5 empty] | 5 |  | 6 | 6 | 1 | 1 | 1
N | edwards EST-3/ 1 stage | 1 |  | 7 |  | 1 | [5 empty] | 2 |  | 4 |  | 2
PFV1-2 | edwards EST-3/ 1 stage |  | 4 |  |  | 5 |  | 6 | [5 empty] | 8
PFV3 | edwards EST-3/ 1 stage |  | 1 |  |  | 2 |  | 1 | [5 empty] | 1
TA6 | edwards EST-3/ 1 stage |  | 3 |  |  | 2 | 1 | 2 | [5 empty] | 1
TA8 | edwards EST-3/ 1 stage |  | 2 |  |  | 2 | 2 | 5 | [5 empty] | 1
W5 | edwards EST-3/ 1 stage |  | 2 |  |  | 2 | 1 | 19 | [5 empty] | 1 | 1
W6 | edwards EST-3/ 1 stage |  | 3 |  |  | 1 | 1 | 7 | [5 empty] | 2
W13 | edwards EST-3/ 1 stage |  | 2 | [8 empty] | 2 |  | 2
Total | 28 | 11 | 62 | 45 | 25 | 441 | 21 | 187 | 11 | 1 | 3 | 40 | 2 | 108 | 23 | 5 | 7 | 4

## Aspect # 2
MOUNTAIN INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 2: Sprinkler systems/trees
Component | Wet sprinkler system | check valve | water motor gong | flow valve | shut off valve | Fire dept connections
BUILDING | Qty | Qty | Qty | Qty | Qty | Qty
A17 | 1 | 1 | 0 | 3 | 3
A21 | 1 | 1 | 0 | 2 | 2 | 1
D | 1 | 1 | 1 | 2 | 2 | 1
G | 1 | 1 | 1 | 3 | 3 | 1
H | 1 | 1 | 1 | 2 | 2 | 1
J | 1 | 1 | 1 | 4 | 4 | 1
K1 | 1 | 1 | 1 | 2 | 2 | 1
LU1 | 1 | 1 | 1 | 2 | 2 | 1
LU2 | 1 | 1 | 1 | 6 | 6 | 1
LU3 | 1 | 1 | 1 | 6 | 6 | 1
LU4 | 1 | 1 | 1 | 6 | 6 | 1
N | 1 | 1 | 1 | 2 | 2 | 1
W13 | 1 | 1 | 1 | 2 | 2 | 1
TOTALS | 13 | 13 | 11 | 42 | 42 | 12
Total # of gauges on site for each type of sprinkler system | 29

## Aspect # 3
MOUNTAIN INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 3: Emergency Lighting
BUILDING | Location | Make | Watts | # of remote heads
A-4 | By Door A2-28 (office hallway) | READY-LITE | 12V250W | 0
A-17 | By Door A17-10 (men's change room) | EDWARDS | 6V36W | 1 double head
A-17 | By A17-18 (SPO Office) | LUMACELL | 6V44W | 1 double head
A-17 | On 2nd Floor Walkway | LUMACELL | 6V44W | 2 single heads
A-18 (IMC) | Inmate Movement Control | BEGHELLI | 12V72W | 0
A-20 | A20 pack 1 | EDWARDS | 6V36W | 0
A-20 | A20 pack 2 | LUMACELL | 6V36W | 0
A-20 | A20 pack 3 | EDWARDS | 6V36W | 0
A-20 | A20 pack 4 | EDWARDS | 6V36W | 0
A-21 | A21-7 | BEGHELLI | 12V160W | 6 Double heads
D | Room D201 | LITHONIA | 12V250W | 2 Double heads
D | Room D139 | LITHONIA | 12V250W | 5 Double heads
D | Room D139 | LITHONIA | 12V250W | 2 Double heads
D | Room D101 | LUMACELL | 6V44W | 0
D | Room D126 | STANPRO | 12V72W | 1 Double head
D | Room D135 | BEGHELLI | 12V360W | 3 Double heads
D | Room D135 | LITHONIA | 12V250W | 4 Double heads
D | Room D135 | LITHONIA | 12V250W | 0
D | Room D135 | STANPRO | 12V250W | 1 Double head
E | Room E105 | LITHONIA | 12V250W | 2 Double heads
E | Room E113 | BEGHELLI | 12V360W | 0
E | Room E113 | BEGHELLI | 12V360W | 1 Double head
E | Room E113 | LITHONIA | 12V250W | 1 Double head
E | Room E108 (MCCP) | LITHONIA | 12V250W | 3 Double heads
E | Room 203 | LITHONIA | 12V250W | 6 Double heads
E | Room 203 | LITHONIA | 12V250W | 1 Double head
E-2 | E2-3 Door | LUMACELL | 6V36W | 0
E-2 | E2-1 Door | LUMACELL | 6V36W | 0
E-5 | E5-14 (main hallway) | STANPRO | 12V72W | 2 Double heads
E-5 | E5-12 (mechanical room) | STANPRO | 12V360W | 4 Double heads
G | CP 100 (Seg bubble) | LITHONIA | 12V250W | 2 Double heads
G | CP 100 (Seg bubble) | BEGHELLI | 12V250W | 3 Double heads
G | G 200 (Seg Mechanical room) | LITHONIA | 12V250W | 2 Double heads
G | G150 (healthcare janitor closet) | LITHONIA | 12V250W | 3 Double heads
H | H110 (Electrical Room) | LITHONIA | 12V250W | 2 Double heads
H | H110 (Electrical Room) | LITHONIA | 12V250W | 3 Double heads
H | H209 (mechanical Room) | LITHONIA | 12V250W | 3 Double heads
H | H209 (mechanical Room) | LITHONIA | 12V250W | 2 Double heads
J | J109 (Janitor closet) | READY-LITE | 12V250W | 4 Double heads
J | J200 (upper mechanical room) | READY-LITE | 12V250W | 3 Double heads
K | Room KN5B (dry goods storage) |  | 12V250W | 1 Double/2 Single
K | Room K-3Ma (Front Storage area) |  | 12V250W | 1 Double/1 Single
K | K-M2 (by Dishpit) | LITHONIA | 12V250W | 0
K | Storage by Freezers |  | 6V36W | 0
K | K-N4c (entrance area by roll up) | LITHONIA | 12V250W | 1 Double head
K | K-P1a (2nd floor office) | LITHONIA | 12V250W | 2 Single heads
K | K-P2a (2nd floor hallway) | BEGHELLI | 12V250W | 1 Double/ 3 Single
LU-1 | HS-1 (upper mechanical room by exit) | STANPRO | 2 X 12V360W | 7 Double/ 7 Single
LU-2 | Attic Entrance upper level | STANPRO | 12V250W | 0
LU-2 | Attic Entrance upper level | STANPRO | 12V250W | 3 Double heads
LU-2 | Attic Entrance upper level pack 10 | STANPRO | 12V250W | 1 Double head
LU-2 | ME-206 pack 7 | STANPRO | 12V250W | 0
LU-2 | ME-206 pack 6 | STANPRO | 12V250W | 0
LU-2 | ME-206 pack 5 | STANPRO | 12V250W | 0
LU-2 | ME-206 pack 8 | STANPRO | 12V250W | 1 Double head
LU-2 | ME-204 pack 9 | STANPRO | 6V36W | 0
LU-2 | Safe Room 104 lower level | STANPRO | 12V360W | 0
LU-2 | Safe Room 104 lower level | STANPRO | 12V360W | 1 Double head
LU-2 | Safe Room 104 lower level | STANPRO | 12V360W | 2 Double heads
LU-2 | Safe Room 104 lower level | STANPRO | 12V360W | 2 Double heads
LU-3 | 2nd Floor Attic pack 12 | STANPRO | 12V360W | 0
LU-3 | 2nd Floor Attic pack 11 | STANPRO | 12V250W | 3 Double heads
LU-3 | 2nd Floor Attic pack 10 | STANPRO | 12V250W | 1 Double head
LU-3 | Mechanical room pack 7 | STANPRO | 12V250W | 0
LU-3 | Mechanical room pack 6 | STANPRO | 12V360W | 0
LU-3 | Mechanical room pack 7 | STANPRO | 12V360W | 0
LU-3 | Mechanical room pack 8 | STANPRO | 12V250W | 1 Double head
LU-3 | Mechanical room pack 9 | STANPRO | 12V72W | 0
LU-3 | Safe Room 104 pack 4 | STANPRO | 12V360W | 0
LU-3 | Safe Room 104 pack 3 | STANPRO | 12V360W | 1 Double head
LU-3 | Safe Room 104 pack 2 | STANPRO | 12V360W | 2 Double heads
LU-3 | Safe Room 104 pack 1 | STANPRO | 12V36W | 2 Double heads
LU-4 | 2nd Floor Attic pack 12 | STANPRO | 12V250W | 0
LU-4 | 2nd Floor Attic pack 11 | STANPRO | 12V360W | 3 Double heads
LU-4 | 2nd Floor Attic pack 10 | STANPRO | 12V360W | 1 Double head
LU-4 | ME 206 pack 9 | STANPRO | 12V250W | 0
LU-4 | ME 206 pack 6 | STANPRO | 12V250W | 0
LU-4 | ME 206 pack 5 | STANPRO | 12V360W | 0
LU-4 | ME 206 pack 8 | STANPRO | 12V250W | 1 Double head
LU-4 | ME 204 | STANPRO | 12V72W | 0
LU-4 | Safe Room 104 pack 4 | STANPRO | 12V360W | 0
LU-4 | Safe Room 104 pack 3 | STANPRO | 12V360W | 1 Double head
LU-4 | Safe Room 104 pack 2 | STANPRO | 12V360W | 2 Double heads
LU-4 | Safe Room 104 pack 1 | STANPRO | 12V360W | 2 Double heads
N | R-06 (Electrical Room) | BEGHELLI | 12V160W | 3 Double heads
N | R-12 (Sprinkler Room) | BEGHELLI | 12V160W | 2 Double heads
N | R-03 (Staff office) | BEGHELLI | 12V200W | 6 Double heads
TA-8 | TA8-1 (Entrance area) | LUMACELL | 6V44W | 0
TA-8 | TA8-6 (by Staff Office) | LUMACELL | 6V44W | 0
W-5 | Hallway | LUMACELL | 6V44W | 0
Total | 90

## Aspect # 4
MOUNTAIN INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 4: Fire Extinguishers
Type | ABC | CO2 | 2A - Water | Class - D
BUILDING | Qty | Qty | Qty | Qty
A1 & 2 | 15 | 1
A3 & 4 | 13
A16 | 1
A17 | 9
A18 | 1
A19 | 3
A20 | 4
A21 | 7
D | 11
E | 7
E1 | 6
E2 | 5 |  | 1
E3 | 7
E5 | 7
F | 1
G | 7
H | 12
J | 4
K1 | 12 |  |  | 1
LU1 | 18
LU2 | 19
LU3 | 19
LU4 | 19
M2 | 1
N | 6
PFV1-2 | 2
PFV3 | 1
SL1 | 1
TA5 | 1
TA6 | 2
TA8 | 2
W5 | 4
W6 | 5
W11 | 3
W13 | 3
Spares in E3 | 57
TOTAL | 295 | 1 | 1 | 1

## Aspect # 5
MOUNTAIN INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 5: Fire Hydrants
Equipment | Hydrant only |  | All Hydrants require Dechlorination during flow testing and/or flushing
Location on site | Make | Type | High risk to environment -Dechlorinate
South of A-2 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
North of G (seg) | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
North of H | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
South of PFV 2 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
West of E | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
East of E-2 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
South of IMC | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
West of LU-4 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
East of LU 3 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
North west of LU-2 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
North east corner of LU-1 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
South east corner of LU-1 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
South west corner of LU-1 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
North west corner of LU-1 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
East of TA-8 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
South of J | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
West of W-6 | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
South east corner of N | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
South west corner of parking lot | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
Access road to WWTP | Canada Valve Century | Compression (Dry Barrel) | dechlorinate
TOTAL | 20 |  | 20

## Aspect # 6
MOUNTAIN INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 6: Back Flow Preventers
| Domestic water | Fire | Confined space
BUILDING | Qty | Qty | YES or NO
A17 | 1 | 1 | No
A21 |  | 1 | No
D | 1 | 1 | No
G | 5 | 1 | No
H | 6 | 1 | No
J | 1 | 1 | No
K1 | 5 | 1 | No
LU1 | 2 | 1 | No
LU2 | 1 | 1 | No
LU3 | 1 | 1 | No
LU4 | 1 | 1 | No
N | 1 | 1 | No
W13 |  | 1 | No
WWTP | 1 |  | No
TOTAL | 26 | 13

## Aspect # 7
MOUNTAIN INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 7: Standpipe/Hose Cabinet systems (occupant use hose)
Material,class, type and demand | Nylon | Class-qty of each class of system in each building | Type of standpipe and qty of each type per bldg | Standpipe system design demand | Length of standpipe HOSES
BUILDING | QTY | Class 1, 2 or 3 | eg.automatic/ dry/manual/wet/ semi-automatic dry | GPM - L/min | Length in feet
A1 & 2 | 2 | All Class 2 | All Automatic |  | 100 ft each
A3 & 4 | 1 | Class 2 | Automatic |  | 75 ft
A17 | 3 | All Class 2 | All Automatic |  | 100 ft each
G | 1 | Class 3 | Automatic |  | 100 ft
LU1 | 4 | All Class 2 | All Automatic |  | 75ft each
LU2 | 4 | All Class 3 | All Automatic |  | 100 ft each
LU3 | 4 | All Class 3 | All Automatic |  | 100 ft each
LU4 | 4 | All Class 3 | All Automatic |  | 100 ft each
W13 | 1 | Class 2 | Automatic |  | 100 ft
TOTAL | 21

## Aspect # 8
MOUNTAIN INSTITUTION
FIRE PROTECTION SYSTEMS - ASPECT # 8: Kitchen Sprinkler Suppression systems
EQUIPMENT | K- servery
Make | Kidde
Model | Wet chem
Actuation type | mechanical
Number of cylinders | 2
Number of nozzles | 8
Number of suppression system fusible links | 7
Size of cylinders | 1 -6 gal 1- 4 gal
Fire damper assembly type | none
Fire damper assembly fusible links to replace | none